WORKSAFE VICTORIA / OFFICEWISE – A GUIDE TO HEALTH & SAFETY IN THE OFFICE (Appendix C)

| Office: |
| --- |
| Location: | Date: |

Persons doing assessment:

| Work area management rep: | H&S or deputy rep: |
| --- | --- |
| Others (employees, consultants) |

This Checklist is designed to help employers identify existing or potential health and safety issues and meet their legal responsibilities in relation to health and safety in offices.

How to use this worksheet

Follow the worksheet step by step and refer to the guidance provided after each issue on the worksheet to:

• assess any occupational health and safety (OHS) issues associated with your office; and

• implement solutions to OHS issues and control any risks to the health and safety of employees.

Consult with the relevant Health and Safety Representatives (HSR) and where possible involve the employees who do the tasks when assessing the tasks and planning and introducing risk controls.

Arrange for regular workplace inspections and pay particular attention to:

Office layout

Workstations

Job design

Workload and tasks

Lighting

Manual handling

Noise

Indoor air quality

Radiation

Storage, housekeeping, cleanliness and cleaning methods

Floors and stairs

Computers, copying and other equipment

Hazardous substances

Personal protective equipment

Keep a copy for your records

You should retain your risk assessment if it shows a risk to employees.

Fix the problems and control any risks

This worksheet provides general guidelines only. It is important to control any risk you find, so far as is reasonably practicable.

WORKSAFE VICTORIA / OFFICEWISE – A GUIDE TO HEALTH & SAFETY IN THE OFFICE (Appendix C)

JOB DESIGN REFER PAGE 12 OF OFFICEWISE

Examples of issues which may affect health and safety, productivity and job satisfaction: Highly repetitive physical tasks (such as keying) performed for periods of 2 hours or more at a time without significant break. Tasks requiring sitting or standing for periods of 2 hours or more at a time. Tasks requiring high level of concentration for periods of 2 hours or more at a time. Excessive workload leading to long hours or taking work home. Employees having no or limited choice of when, how and how frequently they perform some tasks or this is determined by the equipment or machine they use or by their supervisor. Employees not trained to or able to vary tasks and postures throughout the day.

| ISSUE TICK YES IF THIS ISSUE IS PRESENT | YES | RECOMMENDED SOLUTION | PERSON RESPONSIBLE TO IMPLEMENT SOLUTION | DATE FOR COMPLETION |
| --- | --- | --- | --- | --- |

| Highly repetitive tasks (such as keying) performed for periods of 2 hours or more at a time |  |  |  |  |
| --- | --- | --- | --- | --- |
| Tasks requiring constant sitting or standing for periods of 2 hours or more at a time |  |  |  |  |
| Tasks requiring high level of concentration performed for periods of 2 hours or more at a time |  |  |  |  |
| Individuals unable to participate in decisions about their work and choose when, how and how often they perform most of their tasks |  |  |  |  |
| Employees not trained or allowed to vary tasks and postures throughout the day |  |  |  |  |
| Individuals not given feedback regarding their work performance Long hours of work, taking work home |  |  |  |  |
| Comments (i.e. when and where it is happening) |

POSSIBLE SOLUTIONS

Intersperse highly repetitive tasks with other tasks requiring different movements and postures.

Intersperse tasks requiring static or fixed postures with other tasks requiring more dynamic postures.

Intersperse tasks requiring high levels of concentration with other less demanding tasks.

Training provided on how to vary tasks and postures throughout the day.

Supervisors ensure that employees vary their tasks and postures throughout the day.

WORKSAFE VICTORIA / OFFICEWISE – A GUIDE TO HEALTH & SAFETY IN THE OFFICE (Appendix C)

SOCIAL AND PSYCHOSOCIAL ISSUES REFER PAGE 13 OF OFFICEWISE

Examples of issues which may affect health and safety, productivity and job satisfaction: Employees not given training to perform their work. Lack of consultation on changes in the content, hours, location of the job. Client-focused or emotionally demanding work without opportunity to discuss. Bullying behaviours in the workplace. Potential violence from customers or intruders. Prolonged periods of night shifts or unsocial patterns. Inconsistent management processes or discrimination.

| ISSUE TICK YES IF THIS ISSUE IS PRESENT | YES | RECOMMENDED SOLUTION | PERSON RESPONSIBLE TO IMPLEMENT SOLUTION | DATE FOR COMPLETION |
| --- | --- | --- | --- | --- |

| No or inadequate training for new employees |  |  |  |  |
| --- | --- | --- | --- | --- |
| Employees not consulted on changes to their work content, hours and location |  |  |  |  |
| No support or feedback system of employees dealing with difficult or demanding customers |  |  |  |  |
| Bullying (harassment, intimidation, exclusion, withholding information) occurs with some employees |  |  |  |  |
| Employees are placed in potentially risky situations without adequate supports (handling cash, working alone or at night, working with potentially violent clients) |  |  |  |  |
| Discrimination against particular individuals or groups of employees |  |  |  |  |
| Comments (i.e. when and where it is happening) |

POSSIBLE SOLUTIONS

Documented training for all new employees. Consultation processes for employees, e.g. regular staff meetings and processes. Policy and procedures on prevention and management of bullying, harassment and occupational violence. Policy, procedures and communication devices for prevention and management of potentially violent situations.

APPENDIX C

OFFICE SAFETY CHECKLIST

WORKSAFE VICTORIA / OFFICEWISE – A GUIDE TO HEALTH & SAFETY IN THE OFFICE 75

POSSIBLE SOLUTIONS

• Use powered mechanical aids to handle large, bulky or awkward items or if not reasonably practicable, use an

ergonomically designed trolley.

• Use lifts where possible for moving loads, or if not reasonably practicable, use ramps or use suitable trolleys on

stairs. Loads should not be carried by hand on stairs. If this is not possible, ensure the load is small and light enough

to carry in one hand to the side of the body.

• Relocate frequently used items to within the preferred working zone.

• Use powered office equipment such as staplers, hole punchers or binders to reduce the highforce actions sometimes

required to operate manual equipment.

• Design rest or work breaks into the tasks to allow for muscles that have been working to rest and recover.

• Set up workstations to prevent awkward postures.

• Move and stretch at regular intervals.

MANUAL HANDLING

REFER PAGE 12 OF OFFICEWISE

Examples of issues which may affect health and safety, productivity and job satisfaction:

• Lifting or carrying large, heavy or awkward office equipment, files or items.

• Repeatedly lifting, carrying, pushing or pulling items for more than 30 minutes at a time or more than two hours

in the day.

• Storing often handled items below mid-thigh height or above shoulder height leading to risks from bending, twisting

and reaching.

• Pushing heavy trolleys on high resistance surfaces or steep ramps.

• Tasks such as keying or hand stapling performed repetitively for more than 30 minutes at a time or more than two

hours in the day.

Large, awkward or heavy items

handled manually

Repetitive handling tasks over 30

minutes or for two hours over the day

Handling items for a long duration

Heavy trolleys used on resistant

surface or ramps

Repeatedly handling items outside

preferred (mid-thigh to shoulder)

working zone

Comments (i.e. when and where it is happening)

ISSUE

TICK YES IF THIS ISSUE IS PRESENT

YES RECOMMENDED SOLUTION PERSON RESPONSIBLE

TO IMPLEMENT

SOLUTION

DATE FOR

COMPLETION

APPENDIX C

OFFICE SAFETY CHECKLIST

76 WORKSAFE VICTORIA / OFFICEWISE – A GUIDE TO HEALTH & SAFETY IN THE OFFICE

ENVIRONMENTAL FACTORS

REFER PAGE 22 OF OFFICEWISE

Examples of issues which may affect health and safety, productivity and job satisfaction:

• Poorly lit work areas and walk ways; sudden changes in lighting levels occur between areas, i.e. between outdoors

and a dimly lit stairwell, or between outdoors and loading bay; lighting that is badly directed; lighting throwing

distracting shadows on steps, stairs, walking surfaces, etc; lighting that can make it difficult to see for the pedestrians

or mobile equipment operators.

• Employees not able to control incoming natural light; artificial lighting causing reflections from work surfaces or

shadows over the task; not enough light for the tasks; employees report tired, sore or irritated eyes.

• Difficult to hear a normal voice within a 1 metre distance; distracting or disruptive noises in the area; screens or

partitions do not control noise.

• Staff suffer from dry, irritated eyes at the end of the day; office is stuffy; staff find the temperature cold, hot

or fluctuating.

• Radiation emissions from old CRT monitors not tested within the last 12 months; staff located closer than 1 metre from

a CRT monitor in any direction; no policies and procedures for the placement and size of CRT monitors; staff located near

multiple electrical cords or computer cables; electrical and computer cables unhoused or entwined near staff.

• Working in very cold or hot conditions.

Insufficient lighting for task or security

Employees not able to control natural

light or glare

Artificial lighting causing reflections

from work surfaces or shadows over

the task

Uncorrected visual problems in persons

required to undertake visually

demanding tasks

Noise loud enough to make it difficult

to hear a normal voice at 1 metre

distance

Distracting or disruptive noises present

that affect the employees in the area

Temperature too hot, too cold or

fluctuating and affects the employees

in the area

Air flow too high and affects the

employees in the area

Air flow too low and affects the

employees in the area

Inadequate ventilation for photocopiers

and other equipment

Persons constantly working in close

proximity to radiation sources i.e. rear

of CRT monitors, microwaves etc.

Other environmental factors

Comments (i.e. when and where it is happening)

ISSUE

TICK YES IF THIS ISSUE IS PRESENT

YES RECOMMENDED SOLUTION PERSON RESPONSIBLE

TO IMPLEMENT

SOLUTION

DATE FOR

COMPLETION

APPENDIX C

OFFICE SAFETY CHECKLIST

WORKSAFE VICTORIA / OFFICEWISE – A GUIDE TO HEALTH & SAFETY IN THE OFFICE 77

POSSIBLE SOLUTIONS

• Use recommendations from AS1680.1 to choose appropriate lighting levels for tasks.

• Install blinds, curtains or shutters on windows to control external light sources.

• Improve office lighting by relocating or increasing lighting.

• Improve office lighting by replacing defective light sources; cleaning light sources; increasing the wattage of the light

source; replacing light source with a more suitable type or colour.

• Provide graduated lighting between areas.

• Provide eyesight testing for employees engaged in visually demanding tasks.

• Direct lighting so that does it not throw distracting shadows on steps, stairs or other walking surfaces.

• Isolate persons or control the noise of items of plant or equipment.

• Increase the height, direction or sound absorbency screens or partitions to reduce distraction noise.

• Adjust the air flow in the office or redirect the air flow.

• Install extraction fans around photocopiers and other such equipment in frequent use.

• Redesign layout so that persons are not required to work in close proximity to possible radiation sources for long

periods of time.

• Check that employees are not exposed to environmental factors that may affect their behaviour or performance,

e.g. heat, cold, chemicals or electricity.

APPENDIX C

OFFICE SAFETY CHECKLIST

78 WORKSAFE VICTORIA / OFFICEWISE – A GUIDE TO HEALTH & SAFETY IN THE OFFICE

OFFICE LAYOUT

REFER PAGE 32 OF OFFICEWISE

Examples of issues which may affect health and safety, productivity and job satisfaction:

• Insufficient space for the equipment and the operator.

• Insufficient space for light, intermediate and busy foot traffic.

• Insufficient circulation space around each workstation.

• No separate area for photocopying.

Inadequate space for tasks to be

carried out

Insufficient space for busy or

intermediate foot traffic through

an area

Insufficient space for individual

workstations

No areas for tasks that require

dedicated space, i.e. photocopying

Inappropriate floor surfaces for the

tasks (slippery, reflective, difficulties

with pushing equipment)

Comments (i.e. when and where it is happening)

ISSUE

TICK YES IF THIS ISSUE IS PRESENT

YES RECOMMENDED SOLUTION PERSON RESPONSIBLE

TO IMPLEMENT

SOLUTION

DATE FOR

COMPLETION

POSSIBLE SOLUTIONS

• Relocate equipment and workstations to provide adequate space for the tasks being performed.

• Review the tasks being conducted and consider whether they need to be done in that office or in another location.

• Space for busy foot traffic must comply with the requirements of the Building Code of Australia.

• Ensure aisle widths of at least 1 metre in intermediate foot traffic areas.

• Allocate areas for tasks that require dedicated space and install appropriate workstations for those tasks.

APPENDIX C

OFFICE SAFETY CHECKLIST

WORKSAFE VICTORIA / OFFICEWISE – A GUIDE TO HEALTH & SAFETY IN THE OFFICE 79

Seated workstations not designed

for suitability for tasks done

Reception or counter area desks not

suitable for the tasks

Standing workstations unsuitable

for users

General office workstation seating

inadequate

Receptionist chairs inadequate

Keyboard operator chairs inadequate

Meeting/board room chairs inadequate

No headsets provided for frequent

telephone work

Comments (i.e. when and where it is happening)

ISSUE

TICK YES IF THIS ISSUE IS PRESENT

YES RECOMMENDED SOLUTION PERSON RESPONSIBLE

TO IMPLEMENT

SOLUTION

DATE FOR

COMPLETION

POSSIBLE SOLUTIONS

• Assess each workstation using workstation checklist in Appendix A.

• Provide adjustable height sitting workstations.

• Design reception or counter areas to reflect the work being done and the level of security necessary.

• Provide adjustable height standing workstations.

• Provide suitable adjustable seating to match the type of work and the floor surfaces, i.e. glides or braked castors on

hard floor surfaces.

WORKSTATIONS

REFER PAGE 34 OF OFFICEWISE

Examples of issues which may affect health and safety, productivity and job satisfaction:

• Insufficient space at the workstation for documents to be spread out within easy reach; no easy access to equipment

such as a telephone and keyboard; no height adjustability of work surfaces; workstations and equipment not set up to

reduce awkward postures.

• Standing workstations not suitable for all users; insufficient width and depth for the tasks being carried out; no

provision for sitting at this workstation when short periods of continuous work are required.

• Reception desks or counters too deep or high, inadequate work space or risk to security of staff.

• Chairs unstable when sitting down or standing up; chairs not adjustable for different users; chairs damaged or

uncomfortable.

• No footrests provided for office workers who cannot rest their feet flat on the floor when their chair is adjusted to suit

the desk height.

• No suitable document holders available should user require one.

• Staff not trained to adjust workstation and chair.

• Frequent telephone tasks without headsets.

APPENDIX C

OFFICE SAFETY CHECKLIST

80 WORKSAFE VICTORIA / OFFICEWISE – A GUIDE TO HEALTH & SAFETY IN THE OFFICE

OFFICE EQUIPMENT AND TOOLS

REFER PAGE 40 OF OFFICEWISE

Examples of issues which may affect health and safety, productivity and job satisfaction:

• Insufficient, unsuitable, unsafe or inadequate equipment and hand tools provided.

• Sharp implements (such as pen knives and stapler removers) not housed or stored so as to minimise the risk of injury.

No electric stapler for tasks that

require frequent stapling

No heavy duty stapler for stapling

thick documents

High frequency staple removal using

hand pincer type tool

Letter openers and other sharp tools

exposed

Frequent use of hand letter openers

Use of high force to operate hole

punch on thick documents

Comments (i.e. when and where it is happening)

ISSUE

TICK YES IF THIS ISSUE IS PRESENT

YES RECOMMENDED SOLUTION PERSON RESPONSIBLE

TO IMPLEMENT

SOLUTION

DATE FOR

COMPLETION

POSSIBLE SOLUTIONS

• Provide access to electric stapler and heavy duty stapler.

• Provide lever action staple remover for frequent staple removal.

• Store sharp tools in a manner that does not expose persons to risk of being stabbed or cut.

• Provide letter opening machines for bulk opening of letters.

• Provide powered hole punch or a mechanical punch designed specifically for thick documents.

APPENDIX C

OFFICE SAFETY CHECKLIST

WORKSAFE VICTORIA / OFFICEWISE – A GUIDE TO HEALTH & SAFETY IN THE OFFICE 81

STORAGE

REFER PAGE 45 OF OFFICEWISE

Examples of issues which may affect health and safety, productivity and job satisfaction:

• Insufficient storage space at each workstation.

• Storage space not within easy reach (i.e. between shoulder and mid-thigh height).

• Insufficient space around storage areas to enable easy and safe access.

• Filing cabinets and cupboards unstable when open.

Workstation storage inadequate

for task

Insufficient shelving storage

Heavy items stored outside preferred

working zone

Inadequate general storage

Unstable filing cabinets and cupboards

when open

Comments (i.e. when and where it is happening)

ISSUE

TICK YES IF THIS ISSUE IS PRESENT

YES RECOMMENDED SOLUTION PERSON RESPONSIBLE

TO IMPLEMENT

SOLUTION

DATE FOR

COMPLETION

POSSIBLE SOLUTIONS

• Provide additional storage close to workstations.

• Relocate infrequently used items to off-site storage.

• Provide additional shelf storage.

• Relocate heavy items to shelving between knee and shoulder height.

• Provide additional general storage areas.

• Secure filing cabinets and cupboards to the wall or floor to prevent them falling over.

• Provide filing cabinets fitted with locking devices to prevent opening of more than one drawer at a time.

APPENDIX C

OFFICE SAFETY CHECKLIST

82 WORKSAFE VICTORIA / OFFICEWISE – A GUIDE TO HEALTH & SAFETY IN THE OFFICE

COPYING EQUIPMENT

REFER PAGE 57 OF OFFICEWISE

Examples of issues which may affect health and safety, productivity and job satisfaction:

• Copier lids not functioning to reduce exposure to intense light.

• Copier not functioning quietly and as quickly as indicated in the specifications for the equipment.

• Self-contained toner cartridges not supplied in a sealed state.

• Safety procedures for use and maintenance not available or regularly reviewed.

Copier not functioning correctly

Printer not functioning correctly

No safe use or maintenance

procedures

New toner cartridges not supplied in

sealed state

Used toner cartridges not stored in

sealed state

Material Safety Data Sheet (MSDS) on

toners not readily available

Comments (i.e. when and where it is happening)

ISSUE

TICK YES IF THIS ISSUE IS PRESENT

YES RECOMMENDED SOLUTION PERSON RESPONSIBLE

TO IMPLEMENT

SOLUTION

DATE FOR

COMPLETION

POSSIBLE SOLUTIONS

• Repair or replace equipment.

• Prepare safe use and maintenance procedures.

• Ensure supplier provides toner cartridges in sealed state.

• Store used toner cartridges in sealed container.

• Post copies of current toner MSDSs close to photocopiers.

APPENDIX C

OFFICE SAFETY CHECKLIST

WORKSAFE VICTORIA / OFFICEWISE – A GUIDE TO HEALTH & SAFETY IN THE OFFICE 83

HAZARDOUS SUBSTANCES

REFER PAGE 58 OF OFFICEWISE

Examples of issues which may affect health and safety, productivity and job satisfaction:

• No list of the likely hazardous substances.

• Hazards have not been identified, assessed and controlled.

• Noticeable fumes in the air.

• Work processes that use or generate dust, smoke, fumes or gases.

• Chemicals in the office known to be toxic, corrosive, inflammable or explosive.

• No MSDS and written safe work procedures accessible.

• Inadequate ventilation to remove odours and fumes.

• No training provided to relevant staff.

Chemicals, glues, paints and other

hazardous substances used without

safe work procedures

Odours and fumes noticeable

Processes that generate dust, smoke,

fumes or gases

Presence of chemicals or products

known to be toxic, corrosive,

inflammable or explosive

Chemicals or products stored or used

in areas without adequate ventilation

No MSDS accessible near the

chemicals

Chemicals training inadequate

Comments (i.e. when and where it is happening)

ISSUE

TICK YES IF THIS ISSUE IS PRESENT

YES RECOMMENDED SOLUTION PERSON RESPONSIBLE

TO IMPLEMENT

SOLUTION

DATE FOR

COMPLETION

POSSIBLE SOLUTIONS

• All hazardous substances in use identified, assessed and controlled with documented safe work procedures.

• Eliminate or isolate processes that generate dust, smoke, fumes or gases.

• Eliminate chemicals or products known to be toxic, corrosive, inflammable or explosive or substitute with less

hazardous chemicals or products.

• Ensure good ventilation of areas where chemicals and products are stored or used.

• Provide chemical training to all staff required to use chemicals and products.

APPENDIX C

OFFICE SAFETY CHECKLIST

84 WORKSAFE VICTORIA / OFFICEWISE – A GUIDE TO HEALTH & SAFETY IN THE OFFICE

ELECTRICAL HAZARDS

REFER PAGE 59 OF OFFICEWISE

Examples of issues which may affect health and safety, productivity and job satisfaction:

• Excessive numbers of power boards and extension cords.

• Electrical leads not tested and tagged on all equipment in accordance with AS/NZS 3760: In-service safety inspection

and testing of electrical equipment.

• Appliances faulty or not in good order.

Excessive numbers of power boards

and extension cords

No inspection and testing of portable

electrical leads

Faulty electrical appliances

Damaged electrical leads in use

Use of multiple plugs in one power

point

Comments (i.e. when and where it is happening)

ISSUE

TICK YES IF THIS ISSUE IS PRESENT

YES RECOMMENDED SOLUTION PERSON RESPONSIBLE

TO IMPLEMENT

SOLUTION

DATE FOR

COMPLETION

POSSIBLE SOLUTIONS

• Install sufficient fixed power points in area.

• Ensure all portable electrical leads regularly tested in accordance with AS/NZS 3760: In-service safety inspection

and testing of electrical equipment.

• Remove all damaged electrical leads from service.

• Replace multiple plugs with power board provided that there is sufficient capacity in the electrical circuit.

APPENDIX C

OFFICE SAFETY CHECKLIST

WORKSAFE VICTORIA / OFFICEWISE – A GUIDE TO HEALTH & SAFETY IN THE OFFICE 85

HOUSEKEEPING

REFER PAGE 59 OF OFFICEWISE

Examples of issues which may affect health and safety, productivity and job satisfaction:

• Deep carpeted areas in high use trolley areas.

• Wet surfaces near external doors where traffic and weather brings in rain; in kitchen areas, particularly around

sinks, urns.

• Wet/polish cleaning of floors during working hours.

• Change of surfaces – carpeted office to polished timber office; sheet vinyl hallway to tiled kitchen; concrete car park

to terrazzo office.

• High heeled shoes worn on step or straight ladders or expanded mesh flooring.

• Floor surfaces not properly maintained with damaged tiles, frayed carpet.

• Floors of offices, passageways, corridors and stairways not kept clear.

• Lifts, escalators, etc, not in good working order, e.g. differences in height of lift and floor; damage to escalator comb

that may lead to a trip; damage to escalator handrail that may cause injury.

• Sharp corners or edges of furniture and other fittings close to pedestrian traffic areas.

Inappropriate floor surfaces

Areas that may have wet surfaces

Sudden changes in floor surfaces

Inadequately maintained floor surfaces

Poor housekeeping

Inadequately maintained lifts or

escalator

Inappropriate footwear worn for

the task

Flight of stairs without hand rails

Ramps that are too steep or with

slippery surface

Hand trolleys used on ramps without

edge protection

No system for removing and repairing

damaged or faulty equipment

Sharp corners of furniture and other

fittings

Comments (i.e. when and where it is happening)

ISSUE

TICK YES IF THIS ISSUE IS PRESENT

YES RECOMMENDED SOLUTION PERSON RESPONSIBLE

TO IMPLEMENT

SOLUTION

DATE FOR

COMPLETION

APPENDIX C

OFFICE SAFETY CHECKLIST

86 WORKSAFE VICTORIA / OFFICEWISE – A GUIDE TO HEALTH & SAFETY IN THE OFFICE

POSSIBLE SOLUTIONS

• Use slip-resistant floor surface in areas where ice, grease or dust create a slipping hazard. Slip resistant door

mats at entrances should be secured or large enough to remain in place.

• Hazardous warning signs and procedures for the immediate management of spills.

• Cleaning of floor surfaces outside working hours; or use an effective system to exclude personnel from floors that

may be hazardous until dry after cleaning.

• Floor surfaces must be chosen to ensure non-slip conditions when employees move from one floor surface

to another; or treat floor surfaces to make the slip resistance of both surfaces similar.

• Ensure suitable footwear is chosen and is worn when doing the task.

• Ensure the slope of a ramp is no more than 1 in 8 and if people in wheelchairs may have to use the ramp,

the maximum slope should be 1 in 12 as per AS1428.

• Ramps should be made slip-resistant with foot grips or textured surface.

• Regularly review and maintain uneven, damaged floor surfaces and external access areas.

• Ensure aisles or passageways remain uncluttered at all times and keep work areas tidy.

• Paint a bright strip (highlight) on nosing e.g. steps that are poorly defined visually.

• Where doors open onto stairs a landing with sufficient space for the door to open fully without striking

the employee should be provided.

• Eliminate isolated low steps; or if not reasonably practicable, ensure isolated low steps are highlighted.

• Develop a system so that faulty or damaged equipment is taken out of service and replaced or repaired.

APPENDIX C

OFFICE SAFETY CHECKLIST

WORKSAFE VICTORIA / OFFICEWISE – A GUIDE TO HEALTH & SAFETY IN THE OFFICE 87

POSSIBLE SOLUTIONS

• Use a safety step to gain access to items at head or shoulder height.

• Ensure appropriate ladder, steps or stairs are used to climb or descend levels.

• Ensure stock, materials or displays are not stacked above shoulder height.

• Ensure ladders and steps are stable or secured when in use.

• Ensure ladders or steps are well maintained with non-slip feet and treads in good condition.

• An item should not be carried while the employee is using a ladder.

• Provide adequate length ladders for tasks (user’s waist should not be higher than the top rung of the ladder, i.e. top

3 rungs of a straight ladder and top 2 steps of a step ladder should not be used for the feet).

• Ensure the tops of ladders are tied to a secure structure to prevent slipping or sliding.

• A ladder should be long enough so that when it rests against the upper support, an employee’s waist is not higher

than the top rung of the ladder or above the rung at which the side rails are resting against the upper support. So the

top 3 rungs of a straight ladder or the top 2 steps of a step ladder should not be used for the feet.

GENERAL HEALTH AND SAFETY ISSUES IN THE OFFICE

REFER PAGE 59 OF OFFICEWISE

Examples of issues which may affect health and safety, productivity and job satisfaction:

• Stock, materials or displays stored or stacked to a height where ladders or steps are required to access them.

• Chair used as ladder; Straight ladder used on smooth surfaces.

• Step or straight ladder rather than platform ladder used to get items or to put away items into storage.

• Reaching too far to either side; standing on the top rung of a ladder; ladder used on uneven floor surfaces; rung ladder

used without being secured; rung ladder used at too shallow or too steep an angle.

Storage of stock, materials or displays

at height

Unstable or inappropriate

ladders/steps

Unsafe ladder usage

Comments (i.e. when and where it is happening)

ISSUE

TICK YES IF THIS ISSUE IS PRESENT

YES RECOMMENDED SOLUTION PERSON RESPONSIBLE

TO IMPLEMENT

SOLUTION

DATE FOR

COMPLETION

APPENDIX C

OFFICE SAFETY CHECKLIST

88 WORKSAFE VICTORIA / OFFICEWISE – A GUIDE TO HEALTH & SAFETY IN THE OFFICE